## D. 8 Plan View of Under-Sized Wet Pond

Figure D.7: Plan View of Under-Sized Wet Pond Designed for Outlet in Tanyard Branch

## D.9 Plan View of Full Sized Wet Pond

Figure D.8: Plan View of Full Sized Wet Pond Designed for Outlet in Tanyard Branch

## D.10 Cross-Section of Under-Sized and Full Sized Wet Pond

Figure D.9: Cross-Section of Full Sized and Under-Sized Wet Pond and Outlet Structure Designed for Outlet in Tanyard Branch

## D.11 Added Drainage Area for Under-Sized Wet Pond

Figure D.10: Added Drainage Area (1.21 ha) Due to Construction of Under-Sized Wet Pond at Outlet of Tanyard Branch

## D.12 Necessary Land for Full-Sized Wet Pond (Outlined in White)

Figure D.11: Necessary Land (1.05 ha) for Required Size Wet Pond Designed for the Outlet of Tanyard Branch

## D.13 Sewer Line Removal for Full Sized Wet Pond

Figure D.12: Necessary Removal of Sewer Lines (Green Lines Crossed out by White Lines) and Re-location of Sewer Lines (Yellow Lines) for Required Size Wet Pond at Outlet of Tanyard Branch

# APPENDIX E: COST-BENEFIT ANALYSIS

## E.1 Wet Pond Costs

Under-Sized Wet Pond

Table E.1: Estimated Capital Cost for Under-Sized Wet Pond Designed for Tanyard Branch

Full-Sized Wet Pond

Table E.2: Estimated Capital Cost for Full-Sized Wet Pond Designed for Tanyard Branch

## E.2 Cost Analysis

Table E.3: Total Estimated Cost of 9 Scenarios of LID Practices and/or Wet Ponds Modeled in Tanyard Branch in PCSWMM

## E.3 Nutrient Removal of LID Practices

Residential Rain Garden

Figure E.1: Input Parameters for Residential Rain Garden in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.2: Summary of Nitrogen and Phosphorous Removal of Residential Rain Garden (NCSU, 2011)

Residential Cistern

Figure E.3: Input Parameters for Residential Cistern in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.4: Summary of Nitrogen and Phosphorous Removal of Residential Cistern (NCSU, 2011)

UNC Campus Scenario Permeable Pavement

Figure E.5: Input Parameters for Permeable Pavement of UNC Campus Scenario in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.6: Summary of Nitrogen and Phosphorous Removal of UNC Campus Permeable Pavement (NCSU, 2011)

UNC Campus Scenario Green Roof

Figure E.7: Input Parameters for Green Roof of UNC Campus Scenario in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.8: Summary of Nitrogen and Phosphorous Removal of UNC Campus Green Roof (NCSU, 2011)

Downtown Scenario Permeable Pavement

Figure E.9: Input Parameters for Permeable Pavement of Downtown Scenario in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.10: Summary of Nitrogen and Phosphorous Removal of Downtown Permeable Pavement (NCSU, 2011)

Downtown Scenario Green Roof

Figure E.11: Input Parameters for Green Roof of Downtown Scenario in Jordan Lake Stormwater Load Accounting Tool (NCSU, 2011)

Figure E.12: Summary of Nitrogen and Phosphorous Removal of Downtown Green Roof (NCSU, 2011)